Hall Green Community Centre report 7th July 2026

These are priorities from a health, safety and compliance perspective.


Essential Maintenance (Compliance & Safety)
· Fire Risk Assessment – £445 + VAT
· 5-year Fixed Wiring Test – £380 + VAT
· Replacement of existing fluorescent light fittings with LED (including wiring checks) – £1,450 + VAT
· Plumbing and drainage works – (Cost capped at £1,500.00 as approved at June council meeting.  Not included in the subtotal below)
Subtotal (Essential Maintenance – confirmed costs only): £2,275 + VAT
(excluding plumbing and drainage pending quotation)

Note: Lighting has been included here as some fittings are already failing, so replacement is required to maintain safe use of the building.

